## Power
Details of Job role and Equipment
SSC | QPCode | Job Role Name | NSQF Level | Equipment Name | Minimum number of Equipment required (per batch of 30 trainees) | Minimum number of Equipment required (per batch of 25 trainees) | Minimum number of Equipment required (per batch of 20 trainees) | Unit Type | Is this a mandatory Equipment to be available at the Training Center (Yes/No) | Dimension/Specification/Description of the Equipment/ ANY OTHER REMARK
Power | PSS/Q3001 | Assistant Electricity Meter Reader, Billing & Cash Collector | 3 | Double Test Lamp (Two Incandescent Lamps Of 40 Watt Each Connected In Series To Test 415 Volt Phase To Phase) | 3 | 3 | 3 | sets | Yes
Power | PSS/Q3001 | Assistant Electricity Meter Reader, Billing & Cash Collector | 3 | Clamp ‘On’ Tester Or Clip ‘On’ Meter To Test Line Current | 3 | 3 | 3 | sets | Yes
Power | PSS/Q3001 | Assistant Electricity Meter Reader, Billing & Cash Collector | 3 | Multi Meter To Test Continuity And Polarity Of Ct’S With The Help Of 1.5 Volt Dc Cell | 3 | 3 | 3 | units | Yes
Power | PSS/Q3001 | Assistant Electricity Meter Reader, Billing & Cash Collector | 3 | Accuracy Test With Portable Standard Meter (Accucheck Etc. Optional) | 1 | 1 | 1 | unit | no
Power | PSS/Q3001 | Assistant Electricity Meter Reader, Billing & Cash Collector | 3 | Drill M/C With Drill Bit For Mounting Energy Meter And Meter Box | 3 | 3 | 3 | sets | Yes
Power | PSS/Q3001 | Assistant Electricity Meter Reader, Billing & Cash Collector | 3 | Electrician’S Tool Kit Having Combination Plier, Screw Driver 8”, 10”, Spanner Set, Hammer, Knife, Phase Or Neon Tester, Nose Plier, Hacksaw, Measuring Tape, File Etc. | 1 | 1 | 1 | set | Yes
Power | PSS/Q3001 | Assistant Electricity Meter Reader, Billing & Cash Collector | 3 | Cable Socket Punch Tool | 1 | 1 | 1 | set | Yes
Power | PSS/Q3001 | Assistant Electricity Meter Reader, Billing & Cash Collector | 3 | Safety Safety Helmet | 2 | 2 | 2 | unit | Yes
Power | PSS/Q3001 | Assistant Electricity Meter Reader, Billing & Cash Collector | 3 | Rubber Gloves | 2 | 2 | 2 | pairs | Yes
Power | PSS/Q3001 | Assistant Electricity Meter Reader, Billing & Cash Collector | 3 | Safety Belt Or Full Body Harness | 1 | 1 | 1 | set | Yes
Power | PSS/Q3001 | Assistant Electricity Meter Reader, Billing & Cash Collector | 3 | Spectacle Or Mask | 1 | 1 | 1 | set | Yes
Power | PSS/Q3001 | Assistant Electricity Meter Reader, Billing & Cash Collector | 3 | Rubber Boot | 1 | 1 | 1 | set | Yes
Power | PSS/Q3001 | Assistant Electricity Meter Reader, Billing & Cash Collector | 3 | Ladder | 1 | 1 | 1 | unit | Yes
Power | PSS/Q3001 | Assistant Electricity Meter Reader, Billing & Cash Collector | 3 | Chain | 1 | 1 | 1 | unit | Yes
Power | PSS/Q3001 | Assistant Electricity Meter Reader, Billing & Cash Collector | 3 | Rope | 1 | 1 | 1 | unit | Yes
Power | PSS/Q3001 | Assistant Electricity Meter Reader, Billing & Cash Collector | 3 | Discharge Rod | 1 | 1 | 1 | unit | No
Power | PSS/Q3001 | Assistant Electricity Meter Reader, Billing & Cash Collector | 3 | Cordon Tape | 1 | 1 | 1 | unit | Yes
Power | PSS/Q3001 | Assistant Electricity Meter Reader, Billing & Cash Collector | 3 | Caution & Do Not Operate Tags | 1 | 1 | 1 | unit | Yes
Power | PSS/Q3001 | Assistant Electricity Meter Reader, Billing & Cash Collector | 3 | Safety/Danger Sign Boards | 1 | 1 | 1 | unit | Yes
Power | PSS/Q3001 | Assistant Electricity Meter Reader, Billing & Cash Collector | 3 | Single Phase Energy Meter (Electronic) | 3 | 3 | 3 | unit | Yes
Power | PSS/Q3001 | Assistant Electricity Meter Reader, Billing & Cash Collector | 3 | Lt Three Phase Whole Current Energy Meter (Electronic)Of Any Rating Not Above 100 A | 2 | 2 | 2 | unit | Yes
Power | PSS/Q3001 | Assistant Electricity Meter Reader, Billing & Cash Collector | 3 | Lt Ct Energy Meter Electronic (3P4W, 3X-/5A, 3X240V) Or Of Any Rating Not Above 100/5A | 2 | 2 | 2 | unit | Yes
Power | PSS/Q3001 | Assistant Electricity Meter Reader, Billing & Cash Collector | 3 | LT Ct’S Combination Of 3 Or 4 (As Per Meter) Ofany Rating Not Above 100/5A | 2 | 2 | 2 | sets | Yes
Power | PSS/Q3001 | Assistant Electricity Meter Reader, Billing & Cash Collector | 3 | Service Cable | 1 | 1 | 1 | unit | Yes
Power | PSS/Q3001 | Assistant Electricity Meter Reader, Billing & Cash Collector | 3 | Load Like Set Of 100W, 200W Lamps, Heaters, Motors Water Pump Etc. | 1 | 1 | 1 | unit | Yes
Power | PSS/Q3001 | Assistant Electricity Meter Reader, Billing & Cash Collector | 3 | Hardware Items Like Screws, Fasteners, Clamps Etc For Fixing Meter Boxes And Cables. | 1 | 1 | 1 | SET | Yes
Power | PSS/Q3001 | Assistant Electricity Meter Reader, Billing & Cash Collector | 3 | Energy Meter Mechanic(Three Phase) Six Digit Counter( With Or Without Decimal) | 3 | 3 | 3 | unit | Yes
Power | PSS/Q3001 | Assistant Electricity Meter Reader, Billing & Cash Collector | 3 | Energy Meter Mechanic(Single Phase) Six Digit Counter( With Or Without Decimal) | 3 | 3 | 3 | unit | Yes
Power | PSS/Q3001 | Assistant Electricity Meter Reader, Billing & Cash Collector | 3 | Prepaid Energy Meter Electronic( Three Phase) Lcd Display | 3 | 3 | 3 | unit | Yes
Power | PSS/Q3001 | Assistant Electricity Meter Reader, Billing & Cash Collector | 3 | Prepaid Energy Meter Electronic(Single Phase) Lcd Display | 3 | 3 | 3 | unit | Yes
Power | PSS/Q3001 | Assistant Electricity Meter Reader, Billing & Cash Collector | 3 | Spot Billing Hand Held Device With Thermal Printer | 3 | 3 | 3 | unit | Yes
Power | PSS/Q3001 | Assistant Electricity Meter Reader, Billing & Cash Collector | 3 | Meter Reading Instrument (Mri Or Cmri) With Optical Chord For Downloading Load Reading Data Interface With Meter | 3 | 3 | 3 | units | Yes
Power | PSS/Q3001 | Assistant Electricity Meter Reader, Billing & Cash Collector | 3 | Torch | 1 | 1 | 1 | unit | Yes
Power | PSS/Q3001 | Assistant Electricity Meter Reader, Billing & Cash Collector | 3 | Cutter | 2 | 2 | 2 | units | Yes
Power | PSS/Q3001 | Assistant Electricity Meter Reader, Billing & Cash Collector | 3 | Seals | 2 | 2 | 2 | units | Yes
Power | PSS/Q6003 | Assistant Technician – Street Lighting Solutions (Installation & Maintenance) | 3 | Mercury Vapour Lamp With Complete Fitting | 2 | 2 | 2 | SETS | Yes
Power | PSS/Q6003 | Assistant Technician – Street Lighting Solutions (Installation & Maintenance) | 3 | Sodium Vapour Lamp 150/250 watt ,With Comlete Fitting | 2 | 2 | 2 | SETS | Yes
Power | PSS/Q6003 | Assistant Technician – Street Lighting Solutions (Installation & Maintenance) | 3 | Fluresent Lamp With Complete Single And Double Lamp Fitting | 2 | 2 | 2 | SETS | Yes
Power | PSS/Q6003 | Assistant Technician – Street Lighting Solutions (Installation & Maintenance) | 3 | Led Street Light (40 Watt) With Complete Fitting | 3 | 3 | 3 | Sets | Yes
Power | PSS/Q6003 | Assistant Technician – Street Lighting Solutions (Installation & Maintenance) | 3 | Double Pole 16,32 Amp Mcbs And Kit Kat Fuse Sets | 3 | 3 | 3 | Sets | Yes
Power | PSS/Q6003 | Assistant Technician – Street Lighting Solutions (Installation & Maintenance) | 3 | Multimeter | 2 | 2 | 2 | Sets | Yes
Power | PSS/Q6003 | Assistant Technician – Street Lighting Solutions (Installation & Maintenance) | 3 | Clamp ‘On’ Tester Or Clip ‘On’ Meter To Test Line Current | 3 | 3 | 3 | set | Yes
Power | PSS/Q6003 | Assistant Technician – Street Lighting Solutions (Installation & Maintenance) | 3 | LT Megger 500 Volts | 1 | 1 | 1 | units | Yes
Power | PSS/Q6003 | Assistant Technician – Street Lighting Solutions (Installation & Maintenance) | 3 | Screw Driver | 15 | 15 | 15 | units | Yes
Power | PSS/Q6003 | Assistant Technician – Street Lighting Solutions (Installation & Maintenance) | 3 | Phase Tester | 5 | 5 | 5 | units | Yes
Power | PSS/Q6003 | Assistant Technician – Street Lighting Solutions (Installation & Maintenance) | 3 | Combination Pliers | 5 | 5 | 5 | units | Yes
Power | PSS/Q6003 | Assistant Technician – Street Lighting Solutions (Installation & Maintenance) | 3 | Nose Pliers | 5 | 5 | 5 | units | Yes
Power | PSS/Q6003 | Assistant Technician – Street Lighting Solutions (Installation & Maintenance) | 3 | Spanner Set | 5 | 5 | 5 | sets | Yes
Power | PSS/Q6003 | Assistant Technician – Street Lighting Solutions (Installation & Maintenance) | 3 | PIPE WRENCH | 5 | 5 | 5 | units | Yes
Power | PSS/Q6003 | Assistant Technician – Street Lighting Solutions (Installation & Maintenance) | 3 | MEASURING TAPE | 3 | 3 | 3 | units | Yes
Power | PSS/Q6003 | Assistant Technician – Street Lighting Solutions (Installation & Maintenance) | 3 | HACK SAW | 3 | 3 | 3 | units | Yes
Power | PSS/Q6003 | Assistant Technician – Street Lighting Solutions (Installation & Maintenance) | 3 | Adjustable Wrench | 5 | 5 | 5 | units | Yes
Power | PSS/Q6003 | Assistant Technician – Street Lighting Solutions (Installation & Maintenance) | 3 | Hammer | 5 | 5 | 5 | units | Yes
Power | PSS/Q6003 | Assistant Technician – Street Lighting Solutions (Installation & Maintenance) | 3 | Chisel | 5 | 5 | 5 | units | Yes
Power | PSS/Q6003 | Assistant Technician – Street Lighting Solutions (Installation & Maintenance) | 3 | Files | 3 | 3 | 3 | units | Yes
Power | PSS/Q6003 | Assistant Technician – Street Lighting Solutions (Installation & Maintenance) | 3 | Wood Saw | 3 | 3 | 3 | units | Yes
Power | PSS/Q6003 | Assistant Technician – Street Lighting Solutions (Installation & Maintenance) | 3 | Poker | 5 | 5 | 5 | units | Yes
Power | PSS/Q6003 | Assistant Technician – Street Lighting Solutions (Installation & Maintenance) | 3 | Soldering Iron | 5 | 5 | 5 | units | Yes
Power | PSS/Q6003 | Assistant Technician – Street Lighting Solutions (Installation & Maintenance) | 3 | Safety Safety Helmet | 2 | 2 | 2 | units | Yes
Power | PSS/Q6003 | Assistant Technician – Street Lighting Solutions (Installation & Maintenance) | 3 | Safety Rubber Rubber Gloves | 2 | 2 | 2 | pairs | Yes
Power | PSS/Q6003 | Assistant Technician – Street Lighting Solutions (Installation & Maintenance) | 3 | Full Body Harness | 1 | 1 | 1 | set | Yes
Power | PSS/Q6003 | Assistant Technician – Street Lighting Solutions (Installation & Maintenance) | 3 | Spectacle,Or Mask | 1 | 1 | 1 | set | Yes
Power | PSS/Q6003 | Assistant Technician – Street Lighting Solutions (Installation & Maintenance) | 3 | Safety Rubber Boot | 2 | 2 | 2 | pair | Yes
Power | PSS/Q6003 | Assistant Technician – Street Lighting Solutions (Installation & Maintenance) | 3 | Samples of drivers | 3 | 3 | 3 | sets | yes
Power | PSS/Q6003 | Assistant Technician – Street Lighting Solutions (Installation & Maintenance) | 3 | Thermostate | 1 | 1 | 1 | Units | yes
Power | PSS/Q3002 | Attendant Sub-Station (66/11,33/11 KV)-Power Distribution | 3 | Screw Driver | 15 | 15 | 15 | sets | Yes
Power | PSS/Q3002 | Attendant Sub-Station (66/11,33/11 KV)-Power Distribution | 3 | Phase Tester | 5 | 5 | 5 | units | Yes
Power | PSS/Q3002 | Attendant Sub-Station (66/11,33/11 KV)-Power Distribution | 3 | Combination Pliers | 5 | 5 | 5 | units | Yes
Power | PSS/Q3002 | Attendant Sub-Station (66/11,33/11 KV)-Power Distribution | 3 | Nose Pliers | 5 | 5 | 5 | units | Yes
Power | PSS/Q3002 | Attendant Sub-Station (66/11,33/11 KV)-Power Distribution | 3 | Spanner Set | 5 | 5 | 5 | set | Yes
Power | PSS/Q3002 | Attendant Sub-Station (66/11,33/11 KV)-Power Distribution | 3 | Adjustable Wrench | 5 | 5 | 5 | units | Yes
Power | PSS/Q3002 | Attendant Sub-Station (66/11,33/11 KV)-Power Distribution | 3 | Pipe Wrench | 5 | 5 | 5 | units | Yes
Power | PSS/Q3002 | Attendant Sub-Station (66/11,33/11 KV)-Power Distribution | 3 | Measuring Tape | 3 | 3 | 3 | units | Yes
Power | PSS/Q3002 | Attendant Sub-Station (66/11,33/11 KV)-Power Distribution | 3 | Hack Saw | 3 | 3 | 3 | units | Yes
Power | PSS/Q3002 | Attendant Sub-Station (66/11,33/11 KV)-Power Distribution | 3 | Hammer | 5 | 5 | 5 | units | Yes
Power | PSS/Q3002 | Attendant Sub-Station (66/11,33/11 KV)-Power Distribution | 3 | Chisel | 5 | 5 | 5 | units | Yes
Power | PSS/Q3002 | Attendant Sub-Station (66/11,33/11 KV)-Power Distribution | 3 | Files | 3 | 3 | 3 | units | Yes
Power | PSS/Q3002 | Attendant Sub-Station (66/11,33/11 KV)-Power Distribution | 3 | Wood Saw | 3 | 3 | 3 | units | Yes
Power | PSS/Q3002 | Attendant Sub-Station (66/11,33/11 KV)-Power Distribution | 3 | Poker | 5 | 5 | 5 | units | Yes
Power | PSS/Q3002 | Attendant Sub-Station (66/11,33/11 KV)-Power Distribution | 3 | Center Punch | 5 | 5 | 5 | units | Yes
Power | PSS/Q3002 | Attendant Sub-Station (66/11,33/11 KV)-Power Distribution | 3 | Crimping Tool | 5 | 5 | 5 | units | Yes
Power | PSS/Q3002 | Attendant Sub-Station (66/11,33/11 KV)-Power Distribution | 3 | Portable Electric Drill Machine | 3 | 3 | 3 | units | Yes
Power | PSS/Q3002 | Attendant Sub-Station (66/11,33/11 KV)-Power Distribution | 3 | Bench Vise & Line Vise | 3 | 3 | 3 | sets | Yes
Power | PSS/Q3002 | Attendant Sub-Station (66/11,33/11 KV)-Power Distribution | 3 | Soldering Iron | 5 | 5 | 5 | unit | Yes
Power | PSS/Q3002 | Attendant Sub-Station (66/11,33/11 KV)-Power Distribution | 3 | Blow Lamp | 5 | 5 | 5 | unit | Yes
Power | PSS/Q3002 | Attendant Sub-Station (66/11,33/11 KV)-Power Distribution | 3 | Cable Socket Punching Tool | 3 | 3 | 3 | unit | Yes
Power | PSS/Q3002 | Attendant Sub-Station (66/11,33/11 KV)-Power Distribution | 3 | Digital Multimeter | 2 | 2 | 2 | units | Yes
Power | PSS/Q3002 | Attendant Sub-Station (66/11,33/11 KV)-Power Distribution | 3 | Clip On Meter Or Clamp On Tester | 4 | 4 | 4 | units | Yes
Power | PSS/Q3002 | Attendant Sub-Station (66/11,33/11 KV)-Power Distribution | 3 | Hi-Pot Set | 1 | 1 | 1 | units | NO
Power | PSS/Q3002 | Attendant Sub-Station (66/11,33/11 KV)-Power Distribution | 3 | Megger(Analogue) | 2 | 2 | 2 | units | Yes
Power | PSS/Q3002 | Attendant Sub-Station (66/11,33/11 KV)-Power Distribution | 3 | Earth Tester | 2 | 2 | 2 | units | Yes
Power | PSS/Q3002 | Attendant Sub-Station (66/11,33/11 KV)-Power Distribution | 3 | Neon(Power) Tester | 1 | 1 | 1 | unit | Yes
Power | PSS/Q3002 | Attendant Sub-Station (66/11,33/11 KV)-Power Distribution | 3 | Transformer Oil Testing Kit | 1 | 1 | 1 | unit | No
Power | PSS/Q3002 | Attendant Sub-Station (66/11,33/11 KV)-Power Distribution | 3 | Discharge Rod | 1 | 1 | 1 | unit | Yes
Power | PSS/Q3002 | Attendant Sub-Station (66/11,33/11 KV)-Power Distribution | 3 | Ladder | 1 | 1 | 1 | unit | Yes
Power | PSS/Q3002 | Attendant Sub-Station (66/11,33/11 KV)-Power Distribution | 3 | Safety Safety Helmet | 2 | 2 | 2 | unit | Yes
Power | PSS/Q3002 | Attendant Sub-Station (66/11,33/11 KV)-Power Distribution | 3 | Safety Rubber Rubber Gloves | 2 | 2 | 2 | pair | Yes
Power | PSS/Q3002 | Attendant Sub-Station (66/11,33/11 KV)-Power Distribution | 3 | Danger Sign Board | 1 | 1 | 1 | each | Yes
Power | PSS/Q3002 | Attendant Sub-Station (66/11,33/11 KV)-Power Distribution | 3 | Safety Belt Or Full Body Harness | 1 | 1 | 1 | set | Yes
Power | PSS/Q3002 | Attendant Sub-Station (66/11,33/11 KV)-Power Distribution | 3 | Safety Sign Board | 1 | 1 | 1 | set | Yes
Power | PSS/Q3002 | Attendant Sub-Station (66/11,33/11 KV)-Power Distribution | 3 | Safety Boot | 2 | 2 | 2 | pairs | Yes
Power | PSS/Q3002 | Attendant Sub-Station (66/11,33/11 KV)-Power Distribution | 3 | Tagging | 3 | 3 | 3 | sets | Yes
Power | PSS/Q3002 | Attendant Sub-Station (66/11,33/11 KV)-Power Distribution | 3 | Rubber Mat | 1 | 1 | 1 | unit | Yes
Power | PSS/Q3002 | Attendant Sub-Station (66/11,33/11 KV)-Power Distribution | 3 | Mask | 1 | 1 | 1 | unit | Yes
Power | PSS/Q3002 | Attendant Sub-Station (66/11,33/11 KV)-Power Distribution | 3 | RMU | 1 | 1 | 1 | unit | No
Power | PSS/Q3002 | Attendant Sub-Station (66/11,33/11 KV)-Power Distribution | 3 | Oil Circuit Breaker/ Air Circuit Breaker | 1 | 1 | 1 | unit | No
Power | PSS/Q3002 | Attendant Sub-Station (66/11,33/11 KV)-Power Distribution | 3 | Isolators For Demo Operation | 1 | 1 | 1 | unit | No
Power | PSS/Q3002 | Attendant Sub-Station (66/11,33/11 KV)-Power Distribution | 3 | Old Ht Panels | 1 | 1 | 1 | unit | No
Power | PSS/Q3002 | Attendant Sub-Station (66/11,33/11 KV)-Power Distribution | 3 | IDMT Relay Analog | 2 | 2 | 2 | units | No
Power | PSS/Q3002 | Attendant Sub-Station (66/11,33/11 KV)-Power Distribution | 3 | Digital Relays(SC, E/F & OC) | 1 | 1 | 1 | unit | Yes
Power | PSS/Q3002 | Attendant Sub-Station (66/11,33/11 KV)-Power Distribution | 3 | Fault Passage Indicator(FPI) | 1 | 1 | 1 | units | No
Power | PSS/Q3002 | Attendant Sub-Station (66/11,33/11 KV)-Power Distribution | 3 | Temperature Meter Analog | 1 | 1 | 1 | unit | No
Power | PSS/Q3002 | Attendant Sub-Station (66/11,33/11 KV)-Power Distribution | 3 | Temperature Meter Digital | 1 | 1 | 1 | unit | Yes
Power | PSS/Q0107 | Consumer Energy Meter Technician | 3 | Double Test Lamp | 3 | 3 | 3 | units | Yes
Power | PSS/Q0107 | Consumer Energy Meter Technician | 3 | Clamp ‘On’ Tester Or Clip ‘On’ Meter To Test Line Current | 3 | 3 | 3 | set | Yes
Power | PSS/Q0107 | Consumer Energy Meter Technician | 3 | Multi Meter To Test Continuity And Polarity Of Ct’S With The Help Of 1.5 Volt Dc Cell | 3 | 3 | 3 | units | Yes
Power | PSS/Q0107 | Consumer Energy Meter Technician | 3 | Accuracy Test With Portable Standard Meter (Accucheck Etc. Optional) | 1 | 1 | 1 | unit | no
Power | PSS/Q0107 | Consumer Energy Meter Technician | 3 | Drill M/C With Drill Bit For Mounting Energy Meter And Meter Box | 3 | 3 | 3 | units | Yes
Power | PSS/Q0107 | Consumer Energy Meter Technician | 3 | Electrician’S Tool Kit Having Combination Plier, Screw Driver 8”, 10”, Spanner Set, Hammer, Knife, Phase Or Neon Tester, Nose Plier, Hacksaw, Measuring Tape, File Etc. | 1 | 1 | 1 | set | Yes
Power | PSS/Q0107 | Consumer Energy Meter Technician | 3 | Cable Socket Punch Tool | 1 | 1 | 1 | set | Yes
Power | PSS/Q0107 | Consumer Energy Meter Technician | 3 | Safety Safety Helmet | 2 | 2 | 2 | unit | Yes
Power | PSS/Q0107 | Consumer Energy Meter Technician | 3 | Rubber Gloves | 2 | 2 | 2 | pair | Yes
Power | PSS/Q0107 | Consumer Energy Meter Technician | 3 | Safety Belt Or Full Body Harness | 1 | 1 | 1 | set | Yes
Power | PSS/Q0107 | Consumer Energy Meter Technician | 3 | Spectacle Or Mask And Safety Rubber Boot. | 1 | 1 | 1 | set | Yes
Power | PSS/Q0107 | Consumer Energy Meter Technician | 3 | Ladder | 1 | 1 | 1 | unit | Yes
Power | PSS/Q0107 | Consumer Energy Meter Technician | 3 | Chain | 1 | 1 | 1 | unit | Yes
Power | PSS/Q0107 | Consumer Energy Meter Technician | 3 | Rope | 1 | 1 | 1 | unit | Yes
Power | PSS/Q0107 | Consumer Energy Meter Technician | 3 | Discharge Rod | 1 | 1 | 1 | unit | Yes
Power | PSS/Q0107 | Consumer Energy Meter Technician | 3 | Safety/Danger Sign Boards | 1 | 1 | 1 | unit | Yes
Power | PSS/Q0107 | Consumer Energy Meter Technician | 3 | Cordon Tape | 1 | 1 | 1 | unit | Yes
Power | PSS/Q0107 | Consumer Energy Meter Technician | 3 | Caution & Do Not Operate Tags | 1 | 1 | 1 | unit | Yes
Power | PSS/Q0107 | Consumer Energy Meter Technician | 3 | Single Phase Energy Meter (Electronic) | 3 | 3 | 3 | units | Yes
Power | PSS/Q0107 | Consumer Energy Meter Technician | 3 | Lt Three Phase Whole Current Energy Meter (Electronic)Of Any Rating Not Above 100 A | 2 | 2 | 2 | units | Yes
Power | PSS/Q0107 | Consumer Energy Meter Technician | 3 | Lt Ct Energy Meter Electronic (3P4W, 3X-/5A, 3X240V) Or Of Any Rating Not Above 100/5A | 2 | 2 | 2 | units | Yes
Power | PSS/Q0107 | Consumer Energy Meter Technician | 3 | Lt Ct’S Combination Of 3 Or 4 (As Per Meter) Ofany Rating Not Above 100/5A | 2 | 2 | 2 | sets | Yes
Power | PSS/Q0107 | Consumer Energy Meter Technician | 3 | Service Cable | 1 | 1 | 1 | unit | Yes
Power | PSS/Q0107 | Consumer Energy Meter Technician | 3 | Load Like Set Of 100W, 200W Lamps, Heaters, Motors Water Pump Etc. | 1 | 1 | 1 | unit | Yes
Power | PSS/Q0107 | Consumer Energy Meter Technician | 3 | Hardware Items Like Screws, Fasteners, Clamps Etc For Fixing Meter Boxes And Cables. | 1 | 1 | 1 | set | Yes
Power | PSS/Q0102 | Distribution Lineman | 4 | Screw Driver | 15 | 15 | 15 | sets | Yes
Power | PSS/Q0102 | Distribution Lineman | 4 | Phase Tester | 5 | 5 | 5 | units | Yes
Power | PSS/Q0102 | Distribution Lineman | 4 | Combination Pliers | 5 | 5 | 5 | units | Yes
Power | PSS/Q0102 | Distribution Lineman | 4 | Nose Pliers | 5 | 5 | 5 | units | Yes
Power | PSS/Q0102 | Distribution Lineman | 4 | Spanner Set | 5 | 5 | 5 | sets | Yes
Power | PSS/Q0102 | Distribution Lineman | 4 | Adjustable Wrench | 5 | 5 | 5 | units | Yes
Power | PSS/Q0102 | Distribution Lineman | 4 | Pipe Wrench | 5 | 5 | 5 | units | Yes
Power | PSS/Q0102 | Distribution Lineman | 4 | Measuring Tape | 3 | 3 | 3 | units | Yes
Power | PSS/Q0102 | Distribution Lineman | 4 | Hack Saw | 3 | 3 | 3 | units | Yes
Power | PSS/Q0102 | Distribution Lineman | 4 | Hammer | 5 | 5 | 5 | units | Yes
Power | PSS/Q0102 | Distribution Lineman | 4 | Chisel | 5 | 5 | 5 | units | Yes
Power | PSS/Q0102 | Distribution Lineman | 4 | Files | 3 | 3 | 3 | units | Yes
Power | PSS/Q0102 | Distribution Lineman | 4 | Wood Saw | 3 | 3 | 3 | units | Yes
Power | PSS/Q0102 | Distribution Lineman | 4 | Poker | 5 | 5 | 5 | units | Yes
Power | PSS/Q0102 | Distribution Lineman | 4 | Center Punch | 5 | 5 | 5 | units | Yes
Power | PSS/Q0102 | Distribution Lineman | 4 | Crimping Tool | 5 | 5 | 5 | units | Yes
Power | PSS/Q0102 | Distribution Lineman | 4 | Portable Electric Drill Machine | 3 | 3 | 3 | units | Yes
Power | PSS/Q0102 | Distribution Lineman | 4 | Bench Vise & Line Vise | 3 | 3 | 3 | sets | Yes
Power | PSS/Q0102 | Distribution Lineman | 4 | Soldering Iron | 5 | 5 | 5 | unit | Yes
Power | PSS/Q0102 | Distribution Lineman | 4 | Blow Lamp | 5 | 5 | 5 | unit | Yes
Power | PSS/Q0102 | Distribution Lineman | 4 | Cable Socket Punching Tool | 3 | 3 | 3 | unit | Yes
Power | PSS/Q0102 | Distribution Lineman | 4 | Digital Multimeter | 2 | 2 | 2 | units | Yes
Power | PSS/Q0102 | Distribution Lineman | 4 | Clip On Meter Or Clamp On Tester | 3 | 3 | 3 | units | Yes
Power | PSS/Q0102 | Distribution Lineman | 4 | Hi-Pot Set | 1 | 1 | 1 | units | Yes
Power | PSS/Q0102 | Distribution Lineman | 4 | Megger(Analogue) | 2 | 2 | 2 | units | Yes
Power | PSS/Q0102 | Distribution Lineman | 4 | Earth Tester | 2 | 2 | 2 | units | Yes
Power | PSS/Q0102 | Distribution Lineman | 4 | Neon(Power) Tester | 1 | 1 | 1 | unit | Yes
Power | PSS/Q0102 | Distribution Lineman | 4 | Transformer Oil Testing Kit | 1 | 1 | 1 | unit | No
Power | PSS/Q0102 | Distribution Lineman | 4 | Discharge Rod | 1 | 1 | 1 | unit | Yes
Power | PSS/Q0102 | Distribution Lineman | 4 | Ladder | 1 | 1 | 1 | unit | Yes
Power | PSS/Q0102 | Distribution Lineman | 4 | Safety Helmet | 2 | 2 | 2 | unit | Yes
Power | PSS/Q0102 | Distribution Lineman | 4 | Rubber Gloves | 2 | 2 | 2 | pairs | Yes
Power | PSS/Q0102 | Distribution Lineman | 4 | Danger Sign Board | 1 | 1 | 1 | each | Yes
Power | PSS/Q0102 | Distribution Lineman | 4 | Safety Belt Or Full Body Harness | 1 | 1 | 1 | set | Yes
Power | PSS/Q0102 | Distribution Lineman | 4 | Safety Sign Board | 1 | 1 | 1 | unit | Yes
Power | PSS/Q0102 | Distribution Lineman | 4 | Safety Boot | 2 | 2 | 2 | pairs | Yes
Power | PSS/Q0102 | Distribution Lineman | 4 | Tagging | 3 | 3 | 3 | sets | Yes
Power | PSS/Q0102 | Distribution Lineman | 4 | Rubber Mat | 1 | 1 | 1 | unit | Yes
Power | PSS/Q0102 | Distribution Lineman | 4 | Mask | 1 | 1 | 1 | unit | Yes
Power | PSS/Q0103 | Senior Lineman Distribution | 5 | Screw Driver | 15 | 15 | 15 | sets | Yes
Power | PSS/Q0103 | Senior Lineman Distribution | 5 | Phase Tester | 5 | 5 | 5 | units | Yes
Power | PSS/Q0103 | Senior Lineman Distribution | 5 | Combination Pliers | 5 | 5 | 5 | units | Yes
Power | PSS/Q0103 | Senior Lineman Distribution | 5 | Nose Pliers | 5 | 5 | 5 | units | Yes
Power | PSS/Q0103 | Senior Lineman Distribution | 5 | Spanner Set | 5 | 5 | 5 | set | Yes
Power | PSS/Q0103 | Senior Lineman Distribution | 5 | Adjustable Wrench | 5 | 5 | 5 | units | Yes
Power | PSS/Q0103 | Senior Lineman Distribution | 5 | Pipe Wrench | 5 | 5 | 5 | units | Yes
Power | PSS/Q0103 | Senior Lineman Distribution | 5 | Measuring Tape | 3 | 3 | 3 | units | Yes
Power | PSS/Q0103 | Senior Lineman Distribution | 5 | Hack Saw | 3 | 3 | 3 | units | Yes
Power | PSS/Q0103 | Senior Lineman Distribution | 5 | Hammer | 5 | 5 | 5 | units | Yes
Power | PSS/Q0103 | Senior Lineman Distribution | 5 | Chisel | 5 | 5 | 5 | units | Yes
Power | PSS/Q0103 | Senior Lineman Distribution | 5 | Files | 3 | 3 | 3 | units | Yes
Power | PSS/Q0103 | Senior Lineman Distribution | 5 | Wood Saw | 3 | 3 | 3 | units | Yes
Power | PSS/Q0103 | Senior Lineman Distribution | 5 | Poker | 5 | 5 | 5 | units | Yes
Power | PSS/Q0103 | Senior Lineman Distribution | 5 | Center Punch | 5 | 5 | 5 | units | Yes
Power | PSS/Q0103 | Senior Lineman Distribution | 5 | Crimping Tool | 5 | 5 | 5 | units | Yes
Power | PSS/Q0103 | Senior Lineman Distribution | 5 | Portable Electric Drill Machine | 3 | 3 | 3 | units | Yes
Power | PSS/Q0103 | Senior Lineman Distribution | 5 | Bench Vise & Line Vise | 3 | 3 | 3 | sets | Yes
Power | PSS/Q0103 | Senior Lineman Distribution | 5 | Soldering Iron | 5 | 5 | 5 | unit | Yes
Power | PSS/Q0103 | Senior Lineman Distribution | 5 | Blow Lamp | 5 | 5 | 5 | unit | Yes
Power | PSS/Q0103 | Senior Lineman Distribution | 5 | Cable Socket Punching Tool | 3 | 3 | 3 | unit | Yes
Power | PSS/Q0103 | Senior Lineman Distribution | 5 | Digital Multimeter | 2 | 2 | 2 | units | Yes
Power | PSS/Q0103 | Senior Lineman Distribution | 5 | Clip On Meter Or Clamp On Tester | 3 | 3 | 3 | units | Yes
Power | PSS/Q0103 | Senior Lineman Distribution | 5 | Hi-Pot Set | 1 | 1 | 1 | units | Yes
Power | PSS/Q0103 | Senior Lineman Distribution | 5 | Megger(Analogue) | 2 | 2 | 2 | units | Yes
Power | PSS/Q0103 | Senior Lineman Distribution | 5 | Earth Tester | 2 | 2 | 2 | units | Yes
Power | PSS/Q0103 | Senior Lineman Distribution | 5 | Neon(Power) Tester | 1 | 1 | 1 | unit | Yes
Power | PSS/Q0103 | Senior Lineman Distribution | 5 | Transformer Oil Testing Kit | 1 | 1 | 1 | unit | No
Power | PSS/Q0103 | Senior Lineman Distribution | 5 | Discharge Rod | 1 | 1 | 1 | unit | Yes
Power | PSS/Q0103 | Senior Lineman Distribution | 5 | Ladder | 1 | 1 | 1 | unit | Yes
Power | PSS/Q0103 | Senior Lineman Distribution | 5 | Safety Safety Helmet | 2 | 2 | 2 | unit | Yes
Power | PSS/Q0103 | Senior Lineman Distribution | 5 | Rubber Gloves | 2 | 2 | 2 | pair | Yes
Power | PSS/Q0103 | Senior Lineman Distribution | 5 | Danger Sign Board | 1 | 1 | 1 | each | Yes
Power | PSS/Q0103 | Senior Lineman Distribution | 5 | Full Body Harness or Safety belt | 1 | 1 | 1 | set | Yes
Power | PSS/Q0103 | Senior Lineman Distribution | 5 | Safety Sign Board | 1 | 1 | 1 | set | Yes
Power | PSS/Q0103 | Senior Lineman Distribution | 5 | Safety Boot | 2 | 2 | 2 | pairs | Yes
Power | PSS/Q0103 | Senior Lineman Distribution | 5 | Tagging | 3 | 3 | 3 | sets | Yes
Power | PSS/Q0103 | Senior Lineman Distribution | 5 | Rubber Mat | 1 | 1 | 1 | unit | Yes
Power | PSS/Q0103 | Senior Lineman Distribution | 5 | Mask | 1 | 1 | 1 | unit | Yes
Power | PSS/Q0101 | Technical Helper (Distribution) | 2 | Screw Driver | 15 | 15 | 15 | sets | Yes
Power | PSS/Q0101 | Technical Helper (Distribution) | 2 | Phase Tester | 5 | 5 | 5 | units | Yes
Power | PSS/Q0101 | Technical Helper (Distribution) | 2 | Combination Pliers | 5 | 5 | 5 | units | Yes
Power | PSS/Q0101 | Technical Helper (Distribution) | 2 | Nose Pliers | 5 | 5 | 5 | units | Yes
Power | PSS/Q0101 | Technical Helper (Distribution) | 2 | Spanner Set | 5 | 5 | 5 | set | Yes
Power | PSS/Q0101 | Technical Helper (Distribution) | 2 | Adjustable Wrench | 5 | 5 | 5 | units | Yes
Power | PSS/Q0101 | Technical Helper (Distribution) | 2 | Pipe Wrench | 5 | 5 | 5 | units | Yes
Power | PSS/Q0101 | Technical Helper (Distribution) | 2 | Measuring Tape | 3 | 3 | 3 | units | Yes
Power | PSS/Q0101 | Technical Helper (Distribution) | 2 | Hack Saw | 3 | 3 | 3 | units | Yes
Power | PSS/Q0101 | Technical Helper (Distribution) | 2 | Hammer | 5 | 5 | 5 | units | Yes
Power | PSS/Q0101 | Technical Helper (Distribution) | 2 | Chisel | 5 | 5 | 5 | units | Yes
Power | PSS/Q0101 | Technical Helper (Distribution) | 2 | Files | 3 | 3 | 3 | units | Yes
Power | PSS/Q0101 | Technical Helper (Distribution) | 2 | Wood Saw | 3 | 3 | 3 | units | Yes
Power | PSS/Q0101 | Technical Helper (Distribution) | 2 | Poker | 5 | 5 | 5 | units | Yes
Power | PSS/Q0101 | Technical Helper (Distribution) | 2 | Center Punch | 5 | 5 | 5 | units | Yes
Power | PSS/Q0101 | Technical Helper (Distribution) | 2 | Crimping Tool | 5 | 5 | 5 | units | Yes
Power | PSS/Q0101 | Technical Helper (Distribution) | 2 | Portable Electric Drill Machine | 3 | 3 | 3 | units | Yes
Power | PSS/Q0101 | Technical Helper (Distribution) | 2 | Bench Vise & Line Vise | 3 | 3 | 3 | sets | Yes
Power | PSS/Q0101 | Technical Helper (Distribution) | 2 | Soldering Iron | 5 | 5 | 5 | unit | Yes
Power | PSS/Q0101 | Technical Helper (Distribution) | 2 | Blow Lamp | 5 | 5 | 5 | unit | Yes
Power | PSS/Q0101 | Technical Helper (Distribution) | 2 | Cable Socket Punching Tool | 3 | 3 | 3 | unit | Yes
Power | PSS/Q0101 | Technical Helper (Distribution) | 2 | Digital Multimeter | 2 | 2 | 2 | units | Yes
Power | PSS/Q0101 | Technical Helper (Distribution) | 2 | Clip On Meter Or Clamp On Tester | 4 | 4 | 4 | units | Yes
Power | PSS/Q0101 | Technical Helper (Distribution) | 2 | Hi-Pot Set | 1 | 1 | 1 | units | Yes
Power | PSS/Q0101 | Technical Helper (Distribution) | 2 | Megger(Analogue) | 2 | 2 | 2 | units | Yes
Power | PSS/Q0101 | Technical Helper (Distribution) | 2 | Earth Tester | 2 | 2 | 2 | units | Yes
Power | PSS/Q0101 | Technical Helper (Distribution) | 2 | Neon(Power) Tester | 1 | 1 | 1 | unit | Yes
Power | PSS/Q0101 | Technical Helper (Distribution) | 2 | Transformer Oil Testing Kit | 1 | 1 | 1 | unit | No
Power | PSS/Q0101 | Technical Helper (Distribution) | 2 | Discharge Rod | 1 | 1 | 1 | unit | Yes
Power | PSS/Q0101 | Technical Helper (Distribution) | 2 | Ladder | 1 | 1 | 1 | unit | Yes
Power | PSS/Q0101 | Technical Helper (Distribution) | 2 | Safety Helmet | 2 | 2 | 2 | unit | Yes
Power | PSS/Q0101 | Technical Helper (Distribution) | 2 | Rubber Gloves | 2 | 2 | 2 | pairs | Yes
Power | PSS/Q0101 | Technical Helper (Distribution) | 2 | Danger Sign Board | 1 | 1 | 1 | each | Yes
Power | PSS/Q0101 | Technical Helper (Distribution) | 2 | Safety Belt Or Full Body Harness | 1 | 1 | 1 | set | Yes
Power | PSS/Q0101 | Technical Helper (Distribution) | 2 | Safety Sign Board | 1 | 1 | 1 | set | Yes
Power | PSS/Q0101 | Technical Helper (Distribution) | 2 | Safety Boot | 2 | 2 | 2 | pairs | Yes
Power | PSS/Q0101 | Technical Helper (Distribution) | 2 | Tagging | 3 | 3 | 3 | sets | Yes
Power | PSS/Q0101 | Technical Helper (Distribution) | 2 | Rubber Mat | 1 | 1 | 1 | unit | Yes
Power | PSS/Q0101 | Technical Helper (Distribution) | 2 | Mask | 1 | 1 | 1 | unit | Yes
Power | PSS/Q3003 | Technician – Distrubution Transformer Repair | 4 | Screw Driver | 15 | 15 | 15 | sets | Yes
Power | PSS/Q3003 | Technician – Distrubution Transformer Repair | 4 | Phase Tester | 5 | 5 | 5 | units | Yes
Power | PSS/Q3003 | Technician – Distrubution Transformer Repair | 4 | Combination Pliers | 5 | 5 | 5 | units | Yes
Power | PSS/Q3003 | Technician – Distrubution Transformer Repair | 4 | Nose Pliers | 5 | 5 | 5 | units | Yes
Power | PSS/Q3003 | Technician – Distrubution Transformer Repair | 4 | Spanner Set | 5 | 5 | 5 | set | Yes
Power | PSS/Q3003 | Technician – Distrubution Transformer Repair | 4 | Adjustable Wrench | 5 | 5 | 5 | units | Yes
Power | PSS/Q3003 | Technician – Distrubution Transformer Repair | 4 | Pipe Wrench | 5 | 5 | 5 | units | Yes
Power | PSS/Q3003 | Technician – Distrubution Transformer Repair | 4 | Measuring Tape | 3 | 3 | 3 | units | Yes
Power | PSS/Q3003 | Technician – Distrubution Transformer Repair | 4 | Hack Saw | 3 | 3 | 3 | units | Yes
Power | PSS/Q3003 | Technician – Distrubution Transformer Repair | 4 | Hammer | 5 | 5 | 5 | units | Yes
Power | PSS/Q3003 | Technician – Distrubution Transformer Repair | 4 | Chisel | 5 | 5 | 5 | units | Yes
Power | PSS/Q3003 | Technician – Distrubution Transformer Repair | 4 | Files | 3 | 3 | 3 | units | Yes
Power | PSS/Q3003 | Technician – Distrubution Transformer Repair | 4 | Wood Saw | 3 | 3 | 3 | units | Yes
Power | PSS/Q3003 | Technician – Distrubution Transformer Repair | 4 | Poker | 5 | 5 | 5 | units | Yes
Power | PSS/Q3003 | Technician – Distrubution Transformer Repair | 4 | Center Punch | 5 | 5 | 5 | units | Yes
Power | PSS/Q3003 | Technician – Distrubution Transformer Repair | 4 | Crimping Tool | 5 | 5 | 5 | units | Yes
Power | PSS/Q3003 | Technician – Distrubution Transformer Repair | 4 | Portable Electric Drill Machine | 3 | 3 | 3 | units | Yes
Power | PSS/Q3003 | Technician – Distrubution Transformer Repair | 4 | Bench Vise & Line Vise | 3 | 3 | 3 | sets | Yes
Power | PSS/Q3003 | Technician – Distrubution Transformer Repair | 4 | Soldering Iron | 5 | 5 | 5 | unit | Yes
Power | PSS/Q3003 | Technician – Distrubution Transformer Repair | 4 | Blow Lamp | 5 | 5 | 5 | unit | Yes
Power | PSS/Q3003 | Technician – Distrubution Transformer Repair | 4 | Cable Socket Punching Tool | 3 | 3 | 3 | unit | Yes
Power | PSS/Q3003 | Technician – Distrubution Transformer Repair | 4 | Digital Multimeter | 2 | 2 | 2 | units | Yes
Power | PSS/Q3003 | Technician – Distrubution Transformer Repair | 4 | Clip On Meter Or Clamp On Tester | 4 | 4 | 4 | units | Yes
Power | PSS/Q3003 | Technician – Distrubution Transformer Repair | 4 | Hi-Pot Set | 1 | 1 | 1 | units | No
Power | PSS/Q3003 | Technician – Distrubution Transformer Repair | 4 | Megger(Analogue) | 2 | 2 | 2 | units | Yes
Power | PSS/Q3003 | Technician – Distrubution Transformer Repair | 4 | Earth Tester | 2 | 2 | 2 | units | Yes
Power | PSS/Q3003 | Technician – Distrubution Transformer Repair | 4 | Neon(Power) Tester | 1 | 1 | 1 | unit | Yes
Power | PSS/Q3003 | Technician – Distrubution Transformer Repair | 4 | Transformer Oil Testing Kit | 1 | 1 | 1 | unit | No
Power | PSS/Q3003 | Technician – Distrubution Transformer Repair | 4 | Discharge Rod | 1 | 1 | 1 | unit | No
Power | PSS/Q3003 | Technician – Distrubution Transformer Repair | 4 | Ladder | 1 | 1 | 1 | unit | Yes
Power | PSS/Q3003 | Technician – Distrubution Transformer Repair | 4 | Safety Helmet | 2 | 2 | 2 | unit | Yes
Power | PSS/Q3003 | Technician – Distrubution Transformer Repair | 4 | Rubber Gloves | 2 | 2 | 2 | pairs | Yes
Power | PSS/Q3003 | Technician – Distrubution Transformer Repair | 4 | Danger Sign Board | 1 | 1 | 1 | each | Yes
Power | PSS/Q3003 | Technician – Distrubution Transformer Repair | 4 | Full Body Harness or Safety Belt | 1 | 1 | 1 | set | Yes
Power | PSS/Q3003 | Technician – Distrubution Transformer Repair | 4 | Safety Sign Board | 1 | 1 | 1 | set | Yes
Power | PSS/Q3003 | Technician – Distrubution Transformer Repair | 4 | Safety Boot | 2 | 2 | 2 | pairs | Yes
Power | PSS/Q3003 | Technician – Distrubution Transformer Repair | 4 | Tagging | 3 | 3 | 3 | sets | Yes
Power | PSS/Q3003 | Technician – Distrubution Transformer Repair | 4 | Rubber Mat | 1 | 1 | 1 | unit | Yes
Power | PSS/Q3003 | Technician – Distrubution Transformer Repair | 4 | Mask | 1 | 1 | 1 | unit | Yes
Power | PSS/Q3003 | Technician – Distrubution Transformer Repair | 4 | 25 Kva Transformer Dismantlled Condition- Sample | 1 | 1 | 1 | UNIT | No
Power | PSS/Q3003 | Technician – Distrubution Transformer Repair | 4 | Earth Megger | 1 | 1 | 1 | UNIT | Yes
Power | PSS/Q3003 | Technician – Distrubution Transformer Repair | 4 | Emery Paper | 1 | 1 | 1 | 5M | Yes
Power | PSS/Q3003 | Technician – Distrubution Transformer Repair | 4 | Aluminium Foil( For Explosion Vent Diaprhragm) | 1 | 1 | 1 | 10M | Yes
Power | PSS/Q3003 | Technician – Distrubution Transformer Repair | 4 | M Seal | 1 | 1 | 1 | 500GRM | Yes
Power | PSS/Q3003 | Technician – Distrubution Transformer Repair | 4 | Silica Gel | 1 | 1 | 1 | KG | Yes
Power | PSS/Q3003 | Technician – Distrubution Transformer Repair | 4 | Small Capacity Transformer ( 5Kva Or More) | 1 | 1 | 1 | UNIT | Yes
Power | PSS/Q3003 | Technician – Distrubution Transformer Repair | 4 | Transformer Core- Sample | 1 | 1 | 1 | UNIT | Yes
Power | PSS/Q3003 | Technician – Distrubution Transformer Repair | 4 | Tranformer Windings With Lamination Sample | 1 | 1 | 1 | UNIT | Yes
Power | PSS/Q3003 | Technician – Distrubution Transformer Repair | 4 | Welding Set | 1 | 1 | 1 | UNIT | Yes