## Strategic Management
Details of Job role and Equipment
SSC | QPCode | Job Role Name | NSQF Level | Equipment Name | Minimum number of Equipment required (per batch of 30 trainees) | Minimum number of Equipment required (per batch of 25 trainees) | Minimum number of Equipment required (per batch of 20 trainees) | Unit Type | Is this a mandatory Equipment to be available at the Training Center (Yes/No) | Dimension/Specification/Description of the Equipment/ ANY OTHER REMARK
Strategic Manufacturing Sector Skill Council | SMC/Q7601 | Engineer Inst Comm (Fire Fighting and Safety System) | 4 | 1. Fire Extinguisher | 1 |  |  | Nos. | Yes
Strategic Manufacturing Sector Skill Council | SMC/Q7601 | Engineer Inst Comm (Fire Fighting and Safety System) | 4 | 2. Sensors (Smoke, Proximity, Fire, Water, Mist) | 1 |  |  | Nos. | Yes
Strategic Manufacturing Sector Skill Council | SMC/Q7601 | Engineer Inst Comm (Fire Fighting and Safety System) | 4 | 3. Smoke Alarms | 1 |  |  | Nos. | Yes
Strategic Manufacturing Sector Skill Council | SMC/Q7601 | Engineer Inst Comm (Fire Fighting and Safety System) | 4 | 4. Emergency lighting circuit board. | 1 |  |  | Nos. | Yes
Strategic Manufacturing Sector Skill Council | SMC/Q7601 | Engineer Inst Comm (Fire Fighting and Safety System) | 4 | 5. Sample of luminous marking | 1 |  |  | Nos. | Yes
Strategic Manufacturing Sector Skill Council | SMC/Q7601 | Engineer Inst Comm (Fire Fighting and Safety System) | 4 | 6. Carbon Monoxide detectors | 1 |  |  | Nos. | No
Strategic Manufacturing Sector Skill Council | SMC/Q7601 | Engineer Inst Comm (Fire Fighting and Safety System) | 4 | 7. Movable gas detectors | 1 |  |  | Nos. | Yes
Strategic Manufacturing Sector Skill Council | SMC/Q7601 | Engineer Inst Comm (Fire Fighting and Safety System) | 4 | 8. Hydrant Pump | 1 |  |  | Nos. | Yes
Strategic Manufacturing Sector Skill Council | SMC/Q7601 | Engineer Inst Comm (Fire Fighting and Safety System) | 4 | 9. Hose Holding Trolley | 1 |  |  | Nos. | Yes
Strategic Manufacturing Sector Skill Council | SMC/Q7601 | Engineer Inst Comm (Fire Fighting and Safety System) | 4 | 10. Vernier caliper | 1 |  |  | Nos. | Yes
Strategic Manufacturing Sector Skill Council | SMC/Q7601 | Engineer Inst Comm (Fire Fighting and Safety System) | 4 | 11. Hardness tester | 1 |  |  | Nos. | Yes
Strategic Manufacturing Sector Skill Council | SMC/Q7601 | Engineer Inst Comm (Fire Fighting and Safety System) | 4 | 12. Tee square | 1 |  |  | Nos. | Yes
Strategic Manufacturing Sector Skill Council | SMC/Q7601 | Engineer Inst Comm (Fire Fighting and Safety System) | 4 | 13. Combination Square | 1 |  |  | Nos. | Yes
Strategic Manufacturing Sector Skill Council | SMC/Q7601 | Engineer Inst Comm (Fire Fighting and Safety System) | 4 | 14. Protectors | 1 |  |  | Nos. | Yes
Strategic Manufacturing Sector Skill Council | SMC/Q7601 | Engineer Inst Comm (Fire Fighting and Safety System) | 4 | 15. Micrometre | 1 |  |  | Nos. | Yes
Strategic Manufacturing Sector Skill Council | SMC/Q7601 | Engineer Inst Comm (Fire Fighting and Safety System) | 4 | 16. Depth Micrometre | 1 |  |  | Nos. | Yes
Strategic Manufacturing Sector Skill Council | SMC/Q7601 | Engineer Inst Comm (Fire Fighting and Safety System) | 4 | 17. Feeler Guage | 1 |  |  | Nos. | Yes
Strategic Manufacturing Sector Skill Council | SMC/Q7601 | Engineer Inst Comm (Fire Fighting and Safety System) | 4 | 18. Thread & Hole Guage | 1 |  |  | Nos. | Yes
Strategic Manufacturing Sector Skill Council | SMC/Q7601 | Engineer Inst Comm (Fire Fighting and Safety System) | 4 | 19. Radius & profile guage | 1 |  |  | Nos. | Yes
Strategic Manufacturing Sector Skill Council | SMC/Q7601 | Engineer Inst Comm (Fire Fighting and Safety System) | 4 | 20. Temperature measuring instruments | 1 |  |  | Nos. | Yes
Strategic Manufacturing Sector Skill Council | SMC/Q7601 | Engineer Inst Comm (Fire Fighting and Safety System) | 4 | 21. Pressure guage with multiple adopters. | 1 |  |  | Nos. | Yes
Strategic Manufacturing Sector Skill Council | SMC/Q7601 | Engineer Inst Comm (Fire Fighting and Safety System) | 4 | 22. Residual current tester | 1 |  |  | Nos. | Yes
Strategic Manufacturing Sector Skill Council | SMC/Q7601 | Engineer Inst Comm (Fire Fighting and Safety System) | 4 | 23. Portable hand hold drilling machine. | 1 |  |  | Nos. | Yes
Strategic Manufacturing Sector Skill Council | SMC/Q7601 | Engineer Inst Comm (Fire Fighting and Safety System) | 4 | 24. Clamp Electric meter | 1 |  |  | Nos. | Yes
Strategic Manufacturing Sector Skill Council | SMC/Q7601 | Engineer Inst Comm (Fire Fighting and Safety System) | 4 | 25. Multimeter | 1 |  |  | Nos. | Yes
Strategic Manufacturing Sector Skill Council | SMC/Q7601 | Engineer Inst Comm (Fire Fighting and Safety System) | 4 | 26. Portable hand hold cutter | 1 |  |  | Nos. | Yes
Strategic Manufacturing Sector Skill Council | SMC/Q7601 | Engineer Inst Comm (Fire Fighting and Safety System) | 4 | 27. Soldering iron | 1 |  |  | Nos. | Yes
Strategic Manufacturing Sector Skill Council | SMC/Q7601 | Engineer Inst Comm (Fire Fighting and Safety System) | 4 | 28. Brazing tools | 1 |  |  | Nos. | Yes
Strategic Manufacturing Sector Skill Council | SMC/Q7601 | Engineer Inst Comm (Fire Fighting and Safety System) | 4 | 29. General tools, set of screw driver’s, L - N-key set, hammer iron double end (diamond & flat), wooden mallet. | 1 |  |  | Nos. | Yes
Strategic Manufacturing Sector Skill Council | SMC/Q7601 | Engineer Inst Comm (Fire Fighting and Safety System) | 4 | 30. Sample of clamps, Nut & Bolts. | 1 |  |  | Nos. | Yes
Strategic Manufacturing Sector Skill Council | SMC/Q7601 | Engineer Inst Comm (Fire Fighting and Safety System) | 4 | 31. Rivets & riveting machine | 1 |  |  | Nos. | Yes
Strategic Manufacturing Sector Skill Council | SMC/Q7601 | Engineer Inst Comm (Fire Fighting and Safety System) | 4 | 32. Bench vice & portable vice. | 1 |  |  | Nos. | Yes
Strategic Manufacturing Sector Skill Council | SMC/Q7601 | Engineer Inst Comm (Fire Fighting and Safety System) | 4 | 33. One set of fire safety control equipment | 1 |  |  | Nos. | Yes
Strategic Manufacturing Sector Skill Council | SMC/Q7601 | Engineer Inst Comm (Fire Fighting and Safety System) | 4 | 34. Protective gloves | 1 |  |  | Nos. | Yes
Strategic Manufacturing Sector Skill Council | SMC/Q7601 | Engineer Inst Comm (Fire Fighting and Safety System) | 4 | 35. Protective welding goggles. | 1 |  |  | Nos. | Yes
Strategic Manufacturing Sector Skill Council | SMC/Q7601 | Engineer Inst Comm (Fire Fighting and Safety System) | 4 | 36. Apron. | 1 |  |  | Nos. | Yes
Strategic Manufacturing Sector Skill Council | SMC/Q3101 | Pipefitter Shipbulding and Ship repair | 4 | 1.Skids and surface plate | 1 |  |  | Nos. | Yes
Strategic Manufacturing Sector Skill Council | SMC/Q3101 | Pipefitter Shipbulding and Ship repair | 4 | 2.Abrasive Cutter to cut (up to 100dia pipes). | 1 |  |  | Nos. | Yes
Strategic Manufacturing Sector Skill Council | SMC/Q3101 | Pipefitter Shipbulding and Ship repair | 4 | 3.Bench / Pipe vice. | 1 |  |  | Nos. | Yes
Strategic Manufacturing Sector Skill Council | SMC/Q3101 | Pipefitter Shipbulding and Ship repair | 4 | 4.Rectifier, DC Welding Machines. | 1 |  |  | Nos. | Yes
Strategic Manufacturing Sector Skill Council | SMC/Q3101 | Pipefitter Shipbulding and Ship repair | 4 | 5.Co2 Welding (MIG) Machine. | 1 |  |  | Nos. | Yes
Strategic Manufacturing Sector Skill Council | SMC/Q3101 | Pipefitter Shipbulding and Ship repair | 4 | 6.Tig Welding Machine. | 1 |  |  | Nos. | Yes
Strategic Manufacturing Sector Skill Council | SMC/Q3101 | Pipefitter Shipbulding and Ship repair | 4 | 7.Cuttogen for manual cutting | 1 |  |  | Nos. | Yes
Strategic Manufacturing Sector Skill Council | SMC/Q3101 | Pipefitter Shipbulding and Ship repair | 4 | 8.Heavy Duty Grinder | 1 |  |  | Nos. | Yes
Strategic Manufacturing Sector Skill Council | SMC/Q3101 | Pipefitter Shipbulding and Ship repair | 4 | 9. Portable Grinder (4” and 5”). | 1 |  |  | Nos. | Yes
Strategic Manufacturing Sector Skill Council | SMC/Q3101 | Pipefitter Shipbulding and Ship repair | 4 | 10. Power Hack Saw (up to 300 NB). | 1 |  |  | Nos. | Yes
Strategic Manufacturing Sector Skill Council | SMC/Q3101 | Pipefitter Shipbulding and Ship repair | 4 | 11. Pipe Threading Machine (up to 2”). | 1 |  |  | Nos. | Yes
Strategic Manufacturing Sector Skill Council | SMC/Q3101 | Pipefitter Shipbulding and Ship repair | 4 | 12. Pipe Bending Machine (up to 50dia& up to 150dia). | 1 |  |  | Nos. | Yes
Strategic Manufacturing Sector Skill Council | SMC/Q3101 | Pipefitter Shipbulding and Ship repair | 4 | 13. Pipe Bending Machine, Hydraulic manually operated up to 3”. | 1 |  |  | Nos. | No
Strategic Manufacturing Sector Skill Council | SMC/Q3101 | Pipefitter Shipbulding and Ship repair | 4 | 14. Pipe coaster for profile cutting (gear system). | 1 |  |  | Nos. | Yes
Strategic Manufacturing Sector Skill Council | SMC/Q3101 | Pipefitter Shipbulding and Ship repair | 4 | 15. CNC, Plasma cutting (all available pipes) up to 4000 mm dia. | 1 |  |  | Nos. | No
Strategic Manufacturing Sector Skill Council | SMC/Q3101 | Pipefitter Shipbulding and Ship repair | 4 | 16. Drilling Machine, upright and radial. | 1 |  |  | Nos. | Yes
Strategic Manufacturing Sector Skill Council | SMC/Q3101 | Pipefitter Shipbulding and Ship repair | 4 | 17. Lathe. | 1 |  |  | Nos. | No
Strategic Manufacturing Sector Skill Council | SMC/Q3101 | Pipefitter Shipbulding and Ship repair | 4 | 18. Arc Welding Transformer. | 1 |  |  | Nos. | Yes
Strategic Manufacturing Sector Skill Council | SMC/Q3101 | Pipefitter Shipbulding and Ship repair | 4 | 19. Brazing Torch for brazing and gas welding. | 1 |  |  | Nos. | Yes
Strategic Manufacturing Sector Skill Council | SMC/Q3101 | Pipefitter Shipbulding and Ship repair | 4 | 20. Die set, Taps for threading duties. | 1 |  |  | Nos. | Yes
Strategic Manufacturing Sector Skill Council | SMC/Q3101 | Pipefitter Shipbulding and Ship repair | 4 | 21. All hand tools – Hammer, Chiesel, etc., | 1 |  |  | Nos. | Yes
Strategic Manufacturing Sector Skill Council | SMC/Q3101 | Pipefitter Shipbulding and Ship repair | 4 | 22. Chain block for lifting purpose. | 1 |  |  | Nos. | Yes
Strategic Manufacturing Sector Skill Council | SMC/Q3101 | Pipefitter Shipbulding and Ship repair | 4 | 23. Gantry cranes. | 1 |  |  | Nos. | No
Strategic Manufacturing Sector Skill Council | SMC/Q3101 | Pipefitter Shipbulding and Ship repair | 4 | 24. Jig saw. | 1 |  |  | Nos. | Yes
Strategic Manufacturing Sector Skill Council | SMC/Q3101 | Pipefitter Shipbulding and Ship repair | 4 | 25. Portable electric baking oven. | 1 |  |  | Nos. | Yes
Strategic Manufacturing Sector Skill Council | SMC/Q3101 | Pipefitter Shipbulding and Ship repair | 4 | 26. Hand pump for pressure test and gauges. | 1 |  |  | Nos. | Yes
Strategic Manufacturing Sector Skill Council | SMC/Q3101 | Pipefitter Shipbulding and Ship repair | 4 | 27. Safety Item. | 1 |  |  | Nos. | Yes